Waste Water Analyses

#### Bacteriological

| Parameter |  | Analytical Method |  |
| --- | --- | --- | --- |
| Biochemical Oxygen Demand (BOD) |  | SM 5210 B |  |
| Biochemical Oxygen Demand, Soluble (SBOD) |  | SM 5210 B |  |
| Carbonaceous BOD (CBOD) |  | SM 5210 B |  |
| Chemical Oxygen Demand |  | EPA 410.4 |  |
| Coliform (Presence/Absence) |  | SM 9223 B |  |
| Coliform, Total |  | SM 9221 B, C, E1 |  |

#### Inorganic Contaminants

| Parameter |  |  |  | Analytical Method |  |
| --- | --- | --- | --- | --- | --- |
| Anions: Single Anion |  |  |  | EPA 300.0 |  |
| Each Additional Anion: (Bromide, Chloride, Fluoride, Nitrate, Nitrite, Ortho-Phosphate, Total-Phosphate, Sulfate) |  |  |  |  |  |
| Alkalinity, Total |  |  |  | SM 2320 B |  |
| Each Additional |  |  |  |  |  |
| Carbonate, Bicarbonate, Hydroxide |  |  |  |  |  |
| Ammonia |  |  |  | SM 4500-NH3 |  |
| Asbestos |  |  |  | EPA 100.1 |  |
| Chlorine, Total Residual |  |  |  | SM 4500-Cl G |  |
| Chromium, Hexavalent |  |  |  | SM 3500-Cr B |  |
| Color |  |  |  | SM 2120 B |  |
| Conductivity |  |  |  | SM 2510 B |  |
| Cyanide, Total |  |  |  | EPA 335.4 |  |
| Dissolved Oxygen |  |  |  | SM 4500-O G |  |
| Fats, Oil, & Grease (HEM), Total |  |  |  | EPA 1664 |  |
| Hardness |  |  |  | EPA 130.2/SM 2340 B |  |
| Hydrogen Sulfide |  |  |  | SM 4500 S |  |
| Mercury: CVAA |  |  |  | EPA 245.7/7471A |  |
| Mercury, Low Level |  |  |  | EPA 1631 E |  |
| Metals/Cations: Single Metal/Cation |  |  |  | EPA 200.8/EPA 200.7 |  |
| Each Additional Metal or Cation: |  |  |  |  |  |
| Al Sb As Ba Be B Cd Ca Cr Co Cu | Aluminum Antimony Arsenic Barium Beryllium Boron Cadmium Calcium Chromium Cobalt Copper | Fe Pb Li Mg Mn Hg Mo Ni P K Se | Iron Lead Lithium Magnesium Manganese Mercury Molybdenum Nickel Phosphorus Potassium Selenium | Si Ag Na S Sr Tl Sn Ti U V Zn | Silicon Silver Sodium Sulfur Strontium Thallium Tin Titanium Uranium Vanadium Zinc |
| Priority Pollutant Metals: (Sb, As, Be, Cd, Cr, Cu, Pb, Hg, Ni, Se, Ag, Tl, Zn) |  |  |  | EPA 200.8/6020 |  |
| Nitrate or Nitrite |  |  |  | EPA 353.2 |  |
| Nitrate + Nitrite |  |  |  | EPA 353.2/EPA 300.0 |  |
| Nitrogen, Total (NO2 + NO3 + TKN) |  |  |  | EPA 353.2 or EPA 300.0/EPA 351.2 |  |
| Nitrogen, Total Kjeldahl |  |  |  | EPA 351.2/SM 4500-Norg C |  |
| TPH-Dx (Diesel & waste oil range organics) |  |  |  | WDOE NWTPH-Dx |  |
| TPH-Gx (Gasoline range organics) |  |  |  | WDOE NWTPH-Gx |  |
| Organic Carbon, Total |  |  |  | SM 5310 B/SM 5310 C |  |
| Organic Halogens, Total (TOX-Water) |  |  |  | EPA 9020 |  |
| TOX-Solid |  |  |  | EPA 9023 |  |
| TOX-Oil |  |  |  | EPA 9076 |  |
| Particle Count and Size |  |  |  | SALI |  |
| pH |  |  |  | SM 4500-H+ B |  |
| Phenolics (Total) |  |  |  | EPA 420.1 |  |
| Phosphorus, Orthophosphate |  |  |  | SM 4500-P E |  |
| Phosphorus, Total |  |  |  | SM 4500-P E |  |
| Reactive Sulfides (solids/liquids) |  |  |  | SW 846 CH7 |  |
| Sulfides, Total |  |  |  | EPA 9030 |  |
| Total Dissolved Solids |  |  |  | SM 2540 C |  |
| Total Suspended Solids |  |  |  | SM 2540 D |  |
| Turbidity |  |  |  | SM 2130 B |  |
| Volatile Suspended Solids |  |  |  | SM 2540 E |  |

#### Organic Compounds

| Parameter | Analytical Method |
| --- | --- |
| EDB/DBCP | EPA 8011 |
| Organochlorine Pesticides | EPA 8081 B/EPA 8270 D |
| Organophosphorus Pesticides | EPA 8141 B/EPA 8270 D |
| PCB’s | EPA 8082 A |
| Phenols | EPA 8270 D |
| Semivolatile Organics (Full List) | EPA 8270 D |
| Volatile Organics | EPA 8260 C |
| BTEX (Benzene, Toluene, Ethylbenzene, Xylene) & PERC (Tetrachloroethylene) | EPA 8260 C |
| Total Toxic Organics (TTO) List | EPA 624/EPA 625/EPA 608/EPA 1613 |

Soil Analyses

Many of the Waste Water parameters are also available for soil.  Please call to inquire about these capabilities

Additional Information

Analytical Methods

ASTM:  American Society for Testing and Materials ASTM Standards

EPA:  Environmental Protection Agency Methods and Guidance for Analysis of Water

NWTPH:  Washington State Department of Ecology methods

SALI:  Energy Northwest Supplemental Analytical Laboratory Instructions

SM:  Standard Methods for the Examination of Water and Wastewater

SW 846:  Environmental Protection Agency Test Methods for Evaluating Solid Waste Physical/Chemical Methods

The methods listed are those most commonly used, selected to conform to regulatory requirements and accepted scientific practices.  An individual sample may contain materials interfering with a specific method listed above and preventing determination of the tested parameter.  In these cases, with approval of our customers our analysts can usually provide accurate results using an alternate method.  Any alternate methods used will be listed on the sample report.

Subcontracted Analyses

The Energy Northwest Environmental Services Laboratory offers sample tracking, shipping, results reporting and invoicing for several analyses that are not cost-effective to perform in our facility.  Only cooperating laboratories with appropriate accreditations are used, and they have been selected based on both price and quality of service.  In periods of unusually high sample loads or instrumentation difficulties, our cooperating laboratories also may perform some analyses we usually provide. Please call to request a quote for any analyses needed that are not listed on this capabilities list. We would be happy to help coordinate testing through a partner laboratory.

#### Additional Capabilities

Along with the listed chemical tests, we offer other specialized services.  Environmental sampling, identification of unknowns, analysis of non-standard chemicals or matrices, thermal testing, individual agricultural chemicals and analytical method development are some of the available services.  Call to request a quote for any of your requirements not included in this price list.

#### Note on our commitment to the environment

Energy Northwest is committed to protecting the environment for current and future generations. As part of that commitment, we have developed, implemented, and maintain a comprehensive Environmental Stewardship Program (ESP). The goal of the program is to promote environmental stewardship, continually improve environmental performance, and ensure regulatory compliance.